REQUEST FOR PROPOSAL

#### The University of Texas Health Science Center at Houston

##

#### RFP No.: 744-R1606 Elevator Modernization &

#### Campus Wide Maintenance Services

Pre-Bid Walk-Through: Tuesday, February 9, 2016 @ 9:00AM CST

Bid Submittal Deadline: Tuesday, March 1, 2016 @ 2:00PM CST

HUB Plan Submittal Deadline: Tuesday, March 1, 2016 @ 2:00PM CST

**![H:\UTH_2c+uthsch_vert[2].png]()**

Prepared By:

Michael Ochoa, C.P.M., Purchasing Contracts Administrator

The University of Texas Health Science Center at Houston

1851 Crosspoint, OCB 1.160

Houston, Texas 77054

Michael.Ochoa@uth.tmc.edu
January 27, 2016

Request for PROPOSAL

TABLE OF CONTENTS

SECTION 1:  INTRODUCTION 3

SECTION 2:  NOTICE TO PROPOSER 5

**SECTION 3: SUBMISSION OF PROPOSAL** 9

**SECTION 4: GENERAL TERMS AND CONDITIONS** 11

**SECTION 5: SPECIFICATIONS AND ADDITIONAL QUESTIONS** 12

**SECTION 6: PRICING AND DELIVERY SCHEDULE** 15

**Attachments:**

**APPENDIX ONE: PROPOSAL REQUIREMENTS**

**APPENDIX TWO: SAMPLE AGREEMENT**

**APPENDIX THREE: HUB SUBCONTRACTING PLAN**

**APPENDIX FOUR: CAMPUS MAP**

**APPENDIX FIVE: DISCLOSURE OF INTERESTED PARTIES (FORM 1295)**

**EXHIBIT 1: SCOPE OF WORK – UNIVERSITY CENTER TOWER BUILDING TRACTION ELEVATOR MODERNIZATION**

**EXHIBIT 2: SCOPE OF WORK – MEDCIAL SCHOOL BUILDING TRACTION ELEVATOR MODERNIZATION**

**EXHIBIT 3: SCOPE OF WORK – SCHOOL OF PUBLIC HEALTH BUILDING HYDRAULIC ELEVATOR MODERNIZATION**

**EXHIBIT 4: SCOPE OF WORK – CAMPUS WIDE ELEVATOR MAINTENACE SERVICES**

**EXHIBIT 5: ELEVATOR LOCATIONS & SPECIFICATIONS**

##### SECTION 1

**INTRODUCTION**

* 1. **Description of University**

Founded in 1972, The University of Texas Health Science Center at Houston (UTHealth) is one of the fifteen component Universities of The University of Texas System. UTHealth is the most comprehensive academic health center in Texas, and is comprised of the following buildings & schools:

* Medical School (MSB) - 6431 Fannin Street
* Medical School Expansion (MSE) – 6431 Fannin Street
* Cyclotron Building (CYC) – 6431 Fannin Street
* School of Dentistry (SOD) – 7500 Cambridge Street
* School of Public Health (SPH) - 1200 Pressler Street
* School of Nursing (SON) – 6901 Bertner Avenue
* School of Biomedical Informatics (SBMI) - 7000 Fannin Street
* Graduate School of Biomedical Sciences (GSBS)– 6767 Bertner Avenue
* Biomedical & Behavioral Sciences Building (BBS) – 1941 East Road
* Institute of Molecular Medicine (IMM) – 1825 Pressler Street
* Harris County Psychiatric Center (HCPC) - 2800 South MacGregor Drive
* Operations Center Building (OCB) -1851 Cross Point Avenue
* University Center Tower (UCT) - 7000 Fannin Street
* Professional Building (UTPB) - 6410 Fannin Street

UTHealth combines biomedical sciences, behavioral sciences, and the humanities to provide interdisciplinary activities essential to the definition of modern academic health science education. UTHealth is committed to providing health professional education and training for students, and is dedicated to providing excellence in research and patient care, which is offered through its clinics, Memorial Hermann Hospital System (its primary teaching hospital), and other affiliated institutions. UTHealth is a major part of the concentration of medical schools, hospitals and research facilities generally referred to as the Texas Medical Center.

 The University of Texas Health Science Center at Houston System has nearly 6,500 employees and approximately 4,500 students. As a component of the University of Texas System, UTHealth is subject to the “Rules and Regulations of the Board of Regents of the University of Texas System for the government of The University of Texas System.”

**1.2 Background and Special Circumstances**

Facilities Operations at UTHealth requires the modernization of elevators at the University Center Tower building, the Medical School building, and the School of Public Health building. In addition, UTHealth requires the supplier to furnish all materials, tools, insurance, equipment, labor, services, permits, and licenses necessary for the preventive maintenance of elevators for The University of Texas Health Science Center at Houston. Further information is contained in the Scope of Work, Section 5.

**1.3 Objective of this Request for Proposal**

UTHealth is soliciting proposals in response to this Request for Proposal for Selection of a Vendor to Provide Elevator Modernization and Campus Wide Maintenance Services related to, RFP No.744-R1606 (this “**RFP**”); from qualified vendors to provide elevator modernization services and elevator maintenance services (the “**Services**”).

**1.4 Group Purchase Authority**

Texas law authorizes institutions of higher education (defined by Section 61.003, Education Code) to use the group purchasing procurement method (ref. Sections 51.9335, 73.115, and 74.008, Education Code). Additional Texas institutions of higher education may therefore elect to enter into a contract with the successful Proposer under this RFP. In particular, Proposer should note that University is part of The University of Texas System ("UT System"), which is comprised of nine academic and six health universities described at <http://www.utsystem.edu/institutions>. UT System institutions routinely evaluate whether a contract resulting from a procurement conducted by one of the institutions might be suitable for use by another, and if so, this could give rise to additional purchase volumes. As a result, in submitting its proposal in response to this RFP, Proposer should consider proposing pricing and other commercial terms that take into account such higher volumes and other expanded opportunities that could result from the eventual inclusion of other institutions in the purchase contemplated by this RFP.

**1.5 General Information**

The Owner may select the Bid that offers the “best value” for the institution based on the published selection criteria and on its ranking evaluation. The Owner may first attempt to negotiate a contract with the selected offeror. The Owner may discuss with the selected offeror options for a scope or time modification and any price change associated with the modification. If the Owner is unable to reach a contract with the selected offeror, the Owner may formally end negotiations with that offeror and proceed to the next “best value” offeror in the order of the selection ranking until a contract is reached or all bids are rejected.

**1.6 Type of Contract**

Any contract resulting from this solicitation will be in the form of the Agreement Between University and Contractor (**APPENDIX TWO**), a copy of which is included in the Bidding Documents.

**1.7 Contract Term**

The Campus Wide Maintenance Services requested shall be provided for a period of two (2) years, beginning upon execution of Elevator Modernization Services at University Center Tower, or the last signature date, whichever is later. This contract may be renewed for up to three (3), one (1) year renewal options upon mutual agreement of the parties to be evidenced in writing by University prior to the expiration date of the initial term, or renewal term.

**SECTION 2**

**NOTICE TO PROPOSER**

**2.1 Submittal Deadline**

UTHealth will accept proposals submitted in response to this RFP until 2:00PM CST on Tuesday, March 1, 2016 (the “**Submittal Deadline**”).

**2.2 University Contact Person**

Proposers will direct all questions or concerns regarding this RFP via email to the following University contact (“**University Contact**”):

The University of Texas Health Science Center at Houston

Procurement Services

1851 Crosspoint, OCB1.160

Houston, Texas 77054

Michael Ochoa, C.P.M., Purchasing Contracts Administrator

Michael.Ochoa@uth.tmc.edu

University specifically instructs all interested parties to restrict all contact and questions regarding this RFP to written communications forwarded to University Contact. *University Contact must receive all questions or concerns no later than 10:00AM CST on Thursday, February 18, 2016.* University will have a reasonable amount of time to respond to questions or concerns. It is University’s intent to respond to all appropriate questions and concerns; however, University reserves the right to decline to respond to any question or concern.

2.2.1 The Owner designates the following person, as its Project Manager Representative.

Julie Lucas, Senior Project Manager

2.2.2 The Owner designates the following, as the Engineer representative regarding the technical Drawings and Specifications.

Persohn / Hahn Associates

**2.3 Criteria for Selection**

The successful Proposer, if any, selected by University in accordance with the requirements and specifications set forth in this RFP will be the Proposer that submits a proposal in response to this RFP on or before the Submittal Deadline that is the most advantageous to University. The successful Proposer is referred to as the “**Contractor**.”

Proposer is encouraged to propose terms and conditions offering the maximum benefit to University in terms of (1) services to University, (2) total overall cost to University, and (3) project management expertise. Proposers should describe all educational, state and local government discounts, as well as any other applicable discounts that may be available to University in a contract for the Services.

An evaluation team from University will evaluate proposals. The evaluation of proposals and the selection of Contractor will be based on the information provided by Proposer in its proposal. University may give consideration to additional information if University deems such information relevant.

The criteria to be considered by University in evaluating proposals and selecting Contractor, will be those factors listed below:

* + 1. Threshold Criteria Not Scored
			1. Ability of University to comply with laws regarding Historically Underutilized Businesses; and

2.3.1.2 Ability of University to comply with laws regarding purchases from persons with disabilities.

* + 1. Scored Criteria
			1. Qualifications **40%**
			2. Schedule **20%** (modernization only weighted for down time)
			3. Price **40%**

**2.4 Key Events Schedule**

Issuance of RFP January 27, 2016

 Pre-Bid Meeting & Site Visits February 9, 2016 @ 9:00AM CST

 (ref. **Section 2.6** of this RFP)

Deadline for Questions/Concerns February 18, 2016 @ 10:00AM CST

(ref. **Section 2.2** of this RFP)

Submittal Deadline March 1, 2016 @ 2:00PM CST

(ref. **Section 2.1** of this RFP)

**2.5 Historically Underutilized Businesses**

2.5.1 All agencies of the State of Texas are required to make a good faith effort to assist historically underutilized businesses (each a “**HUB**”) in receiving contract awards. The goal of the HUB program is to promote full and equal business opportunity for all businesses in contracting with state agencies. Pursuant to the HUB program, if under the terms of any agreement or contractual arrangement resulting from this RFP, Contractor subcontracts any of the Services, then Contractor must make a good faith effort to utilize HUBs certified by the Procurement and Support Services Division of the Texas Comptroller of Public Accounts. Proposals that fail to comply with the requirements contained in this Section 2.5 will constitute a material failure to comply with advertised specifications and will be rejected by University as non-responsive. Additionally, compliance with good faith effort guidelines is a condition precedent to awarding any agreement or contractual arrangement resulting from this RFP. Proposer acknowledges that, if selected by University, its obligation to make a good faith effort to utilize HUBs when subcontracting any of the Services will continue throughout the term of all agreements and contractual arrangements resulting from this RFP. Furthermore, any subcontracting of the Services by the Proposer is subject to review by University to ensure compliance with the HUB program.

2.5.2 University has reviewed this RFP in accordance with Title 34, *Texas Administrative Code*, Section 20.13 (a), and has determined that subcontracting opportunities are probable under this RFP.

2.5.3 A HUB Subcontracting Plan (“**HSP**”) is required as part of Proposer’s proposal. The HSP will be developed and administered in accordance with University’s Policy on Utilization of Historically Underutilized Businesses attached as **APPENDIX THREE** and incorporated for all purposes.

*Each Proposer must complete and return the HSP in accordance with the terms and conditions of this RFP, including* ***APPENDIX THREE****. Proposers that fail to do so will be considered non-responsive to this RFP in accordance with Section 2161.252, Government Code.*

*Questions regarding the HSP may be directed to:*

*Contact: Shaun McGowan*

*HUB & Small Business Program Manager*

*Phone: (713) 500-4862*

*Email:* *Shaun.A.McGowan@uth.tmc.edu*

Contractor will not be permitted to change its HSP unless: (1) Contractor completes a newly modified version of the HSP in accordance with the terms of **APPENDIX THREE** that sets forth all changes requested by Contractor, (2) Contractor provides University with such a modified version of the HSP, (3) University approves the modified HSP in writing, and (4) all agreements or contractual arrangements resulting from this RFP are amended in writing by University and Contractor to conform to the modified HSP.

2.5.4 Proposer must submit two (2) originals of the HSP to University at the same time it submits its proposal to University (ref. **Section 3.2** of this RFP.) The two (2) originals of the HSP must be submitted under separate cover and in a separate envelope (the “HSP Envelope”). Proposer must ensure that the top outside surface of its HSP Envelope clearly shows and makes visible:

2.5.4.1 the RFP No. (ref. **Section 1.3** of this RFP) and the Submittal Deadline (ref. **Section 2.1** of this RFP), both located in the lower left hand corner of the top surface of the envelope,

2.5.4.2 the name and the return address of the Proposer, and

2.5.4.3 the phrase “HUB Subcontracting Plan”.

Any proposal submitted in response to this RFP that is not accompanied by a separate HSP Envelope meeting the above requirements will be rejected by University and returned to the Proposer unopened as that proposal will be considered non-responsive due to material failure to comply with advertised specifications. Furthermore, University will open a Proposer’s HSP Envelope prior to opening the proposal submitted by the Proposer, in order to ensure that the Proposer has submitted the number of completed and signed originals of the Proposer’s HUB Subcontracting Plan (“HSP”) that are required by this RFP. A Proposer’s failure to submit the number of completed and signed originals of the HSP that are required by this RFP will result in University’s rejection of the proposal submitted by that Proposer as non-responsive due to material failure to comply with advertised specifications; such a proposal will be returned to the Proposer unopened (ref. **Section 1.5** of **Appendix One** to this RFP).

**Note**: The requirement that Proposer provide two originals of the HSP under this **Section 2.5.4** is separate from and does not affect Proposer’s obligation to provide University with the number of copies of its proposal as specified in **Section 3.1** of this RFP.

**Please note the HSP can be reviewed by the Manager of the HUB and Small Business Program up to 24 hours before the HSP is due.  THIS IS STRONGLY ENCOURAGED to ensure compliance with HSP guidelines.  Failure to meet guidelines outlined in the HSP will result in disqualification of your proposal.**

**It is recommended that ALL HSPs be reviewed by the HUB Manager**

**7 DAYS prior to the HSP due date, thus allowing for correction and compliance.**

    2.5.5    For questions regarding the HUB Subcontracting Plan – contact:

 Shaun McGowan Manager, HUB & Small Business Program 1851 Crosspoint, OCB 1.160

                        Houston, Texas 77054

                        Phone: (713) 500-4862

                        Fax (713) 500-4710

                        E-mail: [Shaun.A.McGowan@uth.tmc.edu](file:///G%3A%5CPurchasing%5CStandard%20Forms_Contracts_Bids%5CBidding%5CIFO%27s%5CShaun.A.McGowan%40uth.tmc.edu)

2.5.6 **HUB Subcontracting Plans will be evaluated on March 1, 2016. An email will be sent to all Respondents indicating those plans that passed and failed. At that time, the bids with a passing HUB Subcontracting Plan will be opened.**

**2.6 Pre-Proposal Conference**

University will hold a pre-bid meeting beginning at 9:00AM CST on Tuesday, February 9, 2016, in Room UCT M125 of the University Center Tower (UCT); please arrive a few minutes early as we will not stay at this location. The pre-bid meeting will allow all Proposers an opportunity to ask University’s representatives relevant questions and clarify provisions of this RFP. See **APPENDIX FOUR** for Campus Maps.

A guided tour of the elevator control rooms / equipment rooms at UCT, SPH, and MSB will be included as a part of the meeting agenda. This may be the only opportunity for potential respondents to view the Project site(s) before the submittal of Bids. Attendance at the pre-bid meeting is not required.

 **9:00am** University Center Tower – (UCT)

 7000 Fannin, Houston, TX 77030

 **10:00am** School of Public Health - (SPH/RAS)

 1200 Pressler Street, Houston, TX 77030

 **11:00am** Medical School Building – (MSB)

6431 Fannin Street, Houston, TX 77030

**SECTION 3**

**SUBMISSION OF PROPOSAL**

**3.1 Number of Copies**

Proposer must submit a total of seven (7) complete and identical copies of its *entire* proposal and a complete and identical copy of its *entire* proposal on CD-ROM. An *original* signature by an authorized officer of Proposer must appear on the Execution of Offer (ref. **Section 2** of **APPENDIX ONE**) of at least one (1) copy of the submitted proposal. The copy of the Proposer’s proposal bearing an original signature should contain the mark “original” on the front cover of the proposal.

**3.2 Submission**

Proposals must be received by University on or before the Submittal Deadline (ref. **Section 2.1** of this RFP) and should be delivered to:

The University of Texas Health Science Center at Houston

Procurement Services

1851 Crosspoint, OCB1.160

Houston, TX 77054

Attn: Michael Ochoa, C.P.M.

**3.3 Proposal Validity Period**

Each proposal must state that it will remain valid for University’s acceptance for a minimum of One Hundred Twenty (120) days after the Submittal Deadline, to allow time for evaluation, selection, and any unforeseen delays.

**3.4 Owner’s Reservation of Rights**

 The Owner may evaluate the Bids based on the anticipated completion of all or any portion of the Project. The Owner reserves the right to divide the Project into multiple parts, to reject any and all Bids and re-solicit for new Bids, or to reject any and all Bids and temporarily or permanently abandon the Project. **Owner reserves the right to award any, all, or none of the Project**. Owner makes no representations, written or oral, that it will enter into any form of agreement with any respondent to this RFP for any project and no such representation is intended or should be construed by the issuance of this RFP.

**3.5 Terms and Conditions**

3.5.1 Proposer must comply with the requirements and specifications contained in this RFP, including the Sample Agreement (ref. **APPENDIX TWO**), the Notice to Proposer (ref. **Section 2** of this RFP), Proposal Requirements (ref. **APPENDIX ONE**) and the Specifications and Additional Questions (ref. **Section 5** of this RFP). If there is a conflict among the provisions in this RFP, the provision requiring Proposer to supply the better quality or greater quantity of services will prevail, or if such conflict does not involve quality or quantity, then interpretation will be in the following order of precedence:

 3.5.1.1. Specifications and Additional Questions (ref. **Section 5** of this RFP);

 3.5.1.2. Sample Agreement (ref. **APPENDIX TWO**);

 3.5.1.3. Proposal Requirements (ref. **APPENDIX ONE**);

 3.5.1.4. Notice to Proposers (ref. **Section 2** of this RFP).

**3.6 Submittal Checklist**

Proposer is instructed to complete, sign, and return the following documents as a part of its proposal. If Proposer fails to return each of the following items with its proposal, then University may reject the proposal:

3.6.1 Signed and Completed Execution of Offer (ref. **Section 2** of **APPENDIX ONE**)

3.6.2 Signed and Completed Pricing and Delivery Schedule (ref. **Section 6** of this RFP)

3.6.3 Responses to Proposer's General Questionnaire (ref. **Section 3** of **APPENDIX ONE**)

3.6.4 Signed and Completed Addenda Checklist (ref. Section 4 of **APPENDIX ONE**)

3.6.5 Responses to questions and requests for information in the Specifications and Additional Questions Section (ref. **Section 5** of this RFP)

3.6.6 Signed and completed originals of the HUB Subcontracting Plan or other applicable documents (ref. **Section 2.5** of this RFP and **APPENDIX THREE**).

3.6.7 Signed and completed W-9 Form.

3.6.8 Copy of Proposer’s insurance certificate in accordance with limits stated in the attached Sample Agreement (ref. **APPENDIX TWO**).

**SECTION 4**

**GENERAL TERMS AND CONDITIONS**

The terms and conditions contained in the attached Sample Agreement (ref. **APPENDIX TWO**) or, in the sole discretion of University, terms and conditions substantially similar to those contained in the Agreement, will constitute and govern any agreement that results from this RFP. If Proposer takes exception to any terms or conditions set forth in the Agreement, Proposer will submit a list of the exceptions as part of its proposal in accordance with **Section 5.3.1** of this RFP. Proposer’s exceptions will be reviewed by University and may result in disqualification of Proposer’s proposal as non-responsive to this RFP. If Proposer’s exceptions do not result in disqualification of Proposer’s proposal, then University may consider Proposer’s exceptions when University evaluates the Proposer’s proposal.

**SECTION 5**

**SPECIFICATIONS AND ADDITIONAL QUESTIONS**

**5.1 General**

The minimum requirements and the specifications for the Services, as well as certain requests for information to be provided by Proposer as part of its proposal, are set forth below. As indicated in **Section 2.3** of this RFP, the successful Proposer is referred to as the “**Contractor**.”

**5.2 Minimum Requirements**

Each Proposal must include information that clearly indicates that Proposer meets each of the following minimum qualification requirements:

* + 1. **Elevator Contractor must include with your bid a letter of intent from a surety company indicating your firm’s ability to obtain payment and performance bonds for the full cost of the UCT modernization project. If your organization is awarded this project; you will be required to present payment and performance bonds for the full modernization cost of each building before beginning work at that building.** If you do not include this letter, your bid will be considered incomplete and will be rejected. The surety shall acknowledge that the firm may be bonded for each stage/phase of the project, with a potential maximum of the entire modernization cost.
		2. Elevator Contractor must be able to demonstrate that he has installed and maintained elevators as those specified and which have given satisfactory service; has been in successful operation for at least five (5) years; maintains locally an adequate stock of parts for replacement or emergency purposes; and has available qualified persons to do the work.

5.2.3 Elevator Contractor must be able to provide both elevator modernization services and elevator maintenance services.

5.2.4 Elevator Contractor must be able to install elevator modernization equipment and provide maintenance services from the following manufacturers; Amtech, KONE, Otis, Schindler, or ThyssenKrupp.

**5.3 Additional Questions Specific to this RFP**

Proposer must submit the following information as part of Proposer’s proposal:

* + 1. If Proposer takes exception to any terms or conditions set forth in the Agreement (ref. **APPENDIX TWO**), Proposer must submit a list of the exceptions.

5.3.2 By signing the Execution of Offer (ref. **Section 2** of **APPENDIX ONE**), Proposer agrees to comply with [*Section 2252.908, Government Code*](http://www.statutes.legis.state.tx.us/Docs/GV/htm/GV.2252.htm#2252.908) (“**Disclosure of Interested Parties Statute**”), and [1 Texas Administration Code Sections 46.1 through 46.5](https://www.ethics.state.tx.us/rules/adopted_Nov_2015.html#Ch46.1) (“**Disclosure of Interested Parties Regulations**”), as implemented by the Texas Ethics Commission (“**TEC**”), including, among other things, providing the TEC and University with the information required on the form promulgated by the TEC and set forth in **APPENDIX FIVE**.Proposers may learn more about these disclosure requirements, including the use of the TEC electronic filing system, by reviewing the information on the TEC website at <https://www.ethics.state.tx.us/whatsnew/FAQ_Form1295.html>.

*Modernization*

5.3.3 What do you foresee as the biggest risk with the proposed elevator modernizations at UCT, MSB, and SPH? What steps do you plan to take to mitigated these risks?

5.3.4 Would you plan to perform the modernizations at the different buildings concurrently, or in succession?

5.3.5 What other institutions or companies has the bidder performed similar modernizations? Please list these client names, starting and ending dates of each contract, number of units modernized and a contact name and telephone number for each client representative who is knowledgeable of the bidder’s performance on similar scope projects.

5.3.6 Provide a list of five (5) successful elevator installations and maintenance which have given satisfactory service and been in successful operation for at least five (5) years?

5.3.7 Do you maintain a locally adequate stock of parts for replacement or emergency purposes; and have qualified persons available to do the work?

5.3.8 Please acknowledge that your organization can provide both elevator modernization services and elevator maintenance services as indicated in the **Minimum Requirements 5.2.3** ?

5.3.9 Identify which elevator manufacturers equipment your organization will use for the elevator modernization? See **Minimum Requirements 5.2.4** for acceptable equipment.

*Schedule*

5.3.10 UCT - Assuming one (1) high-rise elevator and one (1) low rise elevator can be taken out of service at a time; what is the duration from the time the 1st elevator is taken down to the last one is brought back up?  \_\_\_\_\_\_\_ calendar days

5.3.11 MSB – Assuming two (2) elevators can be taken down at a time (must be in different banks); what is the duration from the time the 1st elevator is taken down to the last one is brought back up?  \_\_\_\_\_\_\_ calendar days

5.3.12 SPH – Assuming you can take both elevators down at the same time, what is the duration from the time the 1st elevator is taken down to the last one is brought back up?  \_\_\_\_\_\_\_ calendar days

*Maintenance Services*

5.3.13 How do you plan to staff this contract? What are the names and titles of the individuals who will be assigned to this service contract and why are these personnel especially qualified to meet its demands? Please provide resumes of key individuals.

5.3.14 On average, how many hours will the bidder’s service mechanic(s) expend each month performing preventative maintenance (PM) duties at each facility? List critical PM activities that will be performed on a monthly, quarterly, semi-annual and annual schedule.

5.3.15 How many and what levels of in-house technical support will be available to the elevator mechanic for advanced elevator problem solving and field service assistance? What is the normal availability of these personnel and how many are located in the Houston area?

5.3.16 This proposal states the Contractor will maintain all elevators in “prime” condition. How will your company determine and communicate to UTHealth whether the units are kept in prime condition (metrics, reports, work logs, etc.).

5.3.17 What equipment and parts does the bidder foresee as replacement problems at each facility and what manufacturer(s) will the bidder go to for “equal quality” parts if parts are obsolete? Please identify University facilities which have this potential.

5.3.18 As part of this contract, what critical parts and materials will the bidder stock at each University facility to minimize elevator downtime? Provide a component list of these critical parts/materials for each facility.

5.3.19 What kind of business relationship does the bidder have with the elevator/controller manufacturer(s) at each facility and how does this relationship ensure more services and better delivery times than your competitors? Please provide manufacturer representative contact names and telephone numbers that will substantiate these claims.

5.3.20 What other institutions or companies does the bidder work for that have the same or similar scope of services, manufacturer of elevator/controller equipment and age of equipment? Please list these client names, starting and ending dates of each contract and a contact name, telephone number, and email address for each client representative who is knowledgeable of the bidder’s PM performance and call back history.

5.3.21 Provide a sample of a Maintenance Control Program that would be similar to the equipment in this contract.

**5.4 Scope of Work**

5.4.1 Reference **Exhibit 1** – University Center Tower Traction Elevator Modernization.

5.4.2 Reference **Exhibit 2** – Medical School Building Traction Elevator Modernization.

5.4.3 Reference **Exhibit 3** – School of Public Health Hydraulic Elevator Modernization.

5.4.4 Reference **Exhibit 4** – Campus Wide Elevator Maintenance Services.

**SECTION 6**

**PRICING AND DELIVERY SCHEDULE**

**Proposal of:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 (Proposer Company Name)

**To:** The University of Texas Health Science Center at Houston

**Ref.:** Elevator Modernization & Campus Wide Maintenance Services

**RFP No.:**  744-R1606 Elevator Modernization & Campus Wide Maintenance Services

Ladies and Gentlemen:

Having carefully examined the Project Requirements, the Specifications and any Addenda to the Specifications as prepared by the University of Texas Health Science Center at Houston (the Owner of this Project), as well as the premises and all conditions affecting the work, the undersigned promises to furnish all equipment, labor, materials, supervision, services, and required bonding to complete the entire work in complete accordance with the above document for the following firm, fixed prices. The University will not accept bids which include assumptions or exceptions to the work identified in the Project Requirements.

**6.1 Bid per Facility**

|  |  |
| --- | --- |
| **University Center Tower (UCT) - 7000 Fannin** |  |
| Price to perform Modernization per specification | $  |
| Price to install Lift-Net Monitoring | $  |
| ALTERNATE - Provide new openings at Basement Level for Elevator Nos. 1 & 2. | $  |
| ALTERNATE - Unit price (per opening) to replace hoist-way sills with new aluminum sills. | $  |
| ALTERNATE - Unit price (per opening) to replace re-clad hoist-way door panels. | $  |
| Monthly price to perform Modernization Interim Preventative Maintenance per specification | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **Medical School Building (MSB) - 6431 Fannin** |  |
| Price to perform Modernization per specification | $  |
| Price to install Lift-Net Monitoring | $  |
| ALTERNATE - Unit price (per opening) to replace hoist-way sills with new aluminum sills. | $  |
| ALTERNATE - Unit price (per opening) to replace re-clad hoist-way door panels. | $  |
| Monthly price to perform Modernization Interim Preventative Maintenance per specification | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **School of Public Health (SPH/RAS) - 1200 Pressler** |  |
| Price to perform Modernization per specification | $  |
| Price to install Lift-Net Monitoring | $  |
| ALTERNATE - Unit price (per opening) to replace hoist-way sills with new aluminum sills. | $  |
| ALTERNATE - Unit price (per opening) to replace re-clad hoist-way door panels. | $  |
| Monthly price to perform Modernization Interim Preventative Maintenance per specification | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **Operations Center Building (OCB) - 1851 Crosspoint** | $  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **Institute of Molecular Medicine (IMM/SRB) - 1825 Pressler** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **School of Nursing (SON) - 6901 Bertner** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **Harris County Psychiatric Center (HCPC) 2800 S. McGregor** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **Medical School Expansion (MSE) - 6431A Fannin** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **University of Texas Professional Building (UTPB) - 6410 Fannin** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **University of Texas Professional Building Garage (UTPB-G) - 6410 Fannin** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **UT Housing - 1885 El Paseo** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **Cyclotron Facility (CYF)- 6431 Fannin**  |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **Behavioral and Biomedical Sciences (BBS) - 1941 East Rd** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |
|   |   |
| **School of Dentistry (SOD) - 7500 Cambridge** |  |
| Price to install Lift-Net Monitoring | $  |
| Monthly price to perform Preventative Maintenance per specification | $  |

**6.2 Bid per Unit for Optional Items**

|  |  |
| --- | --- |
| **Billable Rates per hour** |  |
| Technician Regular Time Billing Rate | $  |
| Apprentice Regular Time Billing Rate | $  |
| Technician 1.5 OT Premium Portion  | $  |
| Apprentice 1.5 OT Premium Portion  | $  |
| Technician 1.7 OT Premium Portion  | $  |
| Apprentice 1.7 OT Premium Portion  | $  |
| Technician 2.0 OT Premium Portion  | $  |
| Apprentice 2.0 OT Premium Portion  | $  |

**6.3 Base Delivery Schedule**

 Calendar Days to Complete Modernization Project at UCT \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Calendar Days to Complete Modernization Project at MSB \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Calendar Days to Complete Modernization Project at SPH \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Calendar Days to Complete Campus Monitoring System \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Time is of the essence in the performance of Contractor’s duties. ***Failure of the Contractor to notify UTHealth sufficiently in advance of inability to complete elevator modernization project within the delivery schedule, shall grant UTHealth the option of imposing liquidated damages in the amount of five hundred dollars ($500.00) per calendar day.*** Notwithstanding the foregoing, UTHealth shall have no obligation to accept late performance or waive timely performance by Contractor.

**6.4 University’s Payment Terms**

University’s standard payment terms for services are “Net 30 days.” Proposer agrees that University will be entitled to withhold five percent (5%) of the total payment due under the Agreement until after University’s acceptance of the final work product. Indicate below the prompt payment discount that Proposer will provide to University:

Prompt Payment Discount: \_\_\_\_\_%\_\_\_\_\_days/net 30 days.

 Respectfully submitted,

 **Proposer:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**By:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 (Authorized Signature for Proposer)

**Name:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Title:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 **Date:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

APPENDIX ONE

PROPOSAL REQUIREMENTS

TABLE OF CONTENTS

SECTION 1:  GENERAL INFORMATION 1

SECTION 2:  EXECUTION OF OFFER 5

**SECTION 3: PROPOSER'S GENERAL QUESTIONNAIRE** 8

**SECTION 4: ADDENDA CHECKLIST** 10

**SECTION 1**

**GENERAL INFORMATION**

**1.1 Purpose**

University is soliciting competitive sealed proposals from Proposers having suitable qualifications and experience providing services in accordance with the terms, conditions and requirements set forth in this RFP. This RFP provides sufficient information for interested parties to prepare and submit proposals for consideration by University.

By submitting a proposal, Proposer certifies that it understands this RFP and has full knowledge of the scope, nature, quality, and quantity of the services to be performed, the detailed requirements of the services to be provided, and the conditions under which such services are to be performed. Proposer also certifies that it understands that all costs relating to preparing a response to this RFP will be the sole responsibility of the Proposer.

PROPOSER IS CAUTIONED TO READ THE INFORMATION CONTAINED IN THIS RFP CAREFULLY AND TO SUBMIT A COMPLETE RESPONSE TO ALL REQUIREMENTS AND QUESTIONS AS DIRECTED.

**1.2 Inquiries and Interpretations**

University may in its sole discretion respond in writing to written inquiries concerning this RFP and mail its response as an Addendum to all parties recorded by University as having received a copy of this RFP. Only University’s responses that are made by formal written Addenda will be binding on University. Any verbal responses, written interpretations or clarifications other than Addenda to this RFP will be without legal effect. All Addenda issued by University prior to the Submittal Deadline will be and are hereby incorporated as a part of this RFP for all purposes.

Proposers are required to acknowledge receipt of each Addendum as specified in this Section. The Proposer must acknowledge all Addenda by completing, signing and returning the Addenda Checklist (ref. **Section 4** of **APPENDIX ONE**). The Addenda Checklist must be received by University prior to the Submittal Deadline and should accompany the Proposer’s proposal.

Any interested party that receives this RFP by means other than directly from University is responsible for notifying University that it has received an RFP package, and should provide its name, address, telephone number and FAX number to University, so that if University issues Addenda to this RFP or provides written answers to questions, that information can be provided to such party.

**1.3 Public Information**

Proposer is hereby notified that University strictly adheres to all statutes, court decisions and the opinions of the Texas Attorney General with respect to disclosure of public information.

University may seek to protect from disclosure all information submitted in response to this RFP until such time as a final agreement is executed.

Upon execution of a final agreement, University will consider all information, documentation, and other materials requested to be submitted in response to this RFP, to be of a non-confidential and non-proprietary nature and, therefore, subject to public disclosure under the *Texas Public Information Act* (*Government Code*, Chapter 552.001, et seq.). Proposer will be advised of a request for public information that implicates their materials and will have the opportunity to raise any objections to disclosure to the Texas Attorney General. Certain information may be protected from release under Sections 552.101, 552.110, 552.113, and 552.131, *Government Code*.

**1.4 Type of Agreement**

Contractor, if any, will be required to enter into a contract with University in a form substantially similar to the Agreement between University and Contractor (the “**Agreement**”) attached to this RFP as **APPENDIX TWO** and incorporated for all purposes.

**1.5 Proposal Evaluation Process**

University will select Contractor by using the competitive sealed proposal process described in this Section. University will open the HSP Envelope submitted by a Proposer prior to opening the Proposer’s proposal in order to ensure that the Proposer has submitted the number of completed and signed originals of the Proposer’s HUB Subcontracting Plan (also called the HSP) that are required by this RFP (ref. **Section 2.5.4** of the RFP.) All proposals submitted by the Submittal Deadline accompanied by the number of completed and signed originals of the HSP that are required by this RFP will be opened publicly to identify the name of each Proposer submitting a proposal. Any proposals that are not submitted by the Submittal Date or that are not accompanied by the number of completed and signed originals of the HSP that are required by this RFP will be rejected by University as non-responsive due to material failure to comply with advertised specifications. After the opening of the proposals and upon completion of the initial review and evaluation of the proposals, University may invite one or more selected Proposers to participate in oral presentations. University will use commercially reasonable efforts to avoid public disclosure of the contents of a proposal prior to selection of Contractor.

University may make the selection of Contractor on the basis of the proposals initially submitted, without discussion, clarification or modification. In the alternative, University may make the selection of Contractor on the basis of negotiation with any of the Proposers. In conducting such negotiations, University will use commercially reasonable efforts to avoid disclosing the contents of competing proposals.

At University's sole option and discretion, University may discuss and negotiate all elements of the proposals submitted by selected Proposers within a specified competitive range. For purposes of negotiation, University may establish, after an initial review of the proposals, a competitive range of acceptable or potentially acceptable proposals composed of the highest rated proposal(s). In that event, University will defer further action on proposals not included within the competitive range pending the selection of Contractor; provided, however, University reserves the right to include additional proposals in the competitive range if deemed to be in the best interests of University.

After submission of a proposal but before final selection of Contractor is made, University may permit a Proposer to revise its proposal in order to obtain the Proposer's best and final offer. In that event, representations made by Proposer in its revised proposal, including price and fee quotes, will be binding on Proposer. University will provide each Proposer within the competitive range with an equal opportunity for discussion and revision of its proposal. University is not obligated to select the Proposer offering the most attractive economic terms if that Proposer is not the most advantageous to University overall, as determined by University.

University reserves the right to (a) enter into an agreement for all or any portion of the requirements and specifications set forth in this RFP with one or more Proposers, (b) reject any and all proposals and re-solicit proposals, or (c) reject any and all proposals and temporarily or permanently abandon this selection process, if deemed to be in the best interests of University. Proposer is hereby notified that University will maintain in its files concerning this RFP a written record of the basis upon which a selection, if any, is made by University.

**1.6 Proposer's Acceptance of Evaluation Methodology**

By submitting a proposal, Proposer acknowledges (1) Proposer's acceptance of [a] the Proposal Evaluation Process (ref. **Section 1.5** of **APPENDIX ONE**), [b] the Criteria for Selection (ref. **2.3** of this RFP), [c] the Specifications and Additional Questions (ref. **Section 5** of this RFP), [d] the terms and conditions of the Agreement (ref. **APPENDIX TWO**), and [e] all other requirements and specifications set forth in this RFP; and (2) Proposer's recognition that some subjective judgments must be made by University during this RFP process.

**1.7 Solicitation for Proposal and Proposal Preparation Costs**

Proposer understands and agrees that (1) this RFP is a solicitation for proposals and University has made no representation written or oral that one or more agreements with University will be awarded under this RFP; (2) University issues this RFP predicated on University’s anticipated requirements for the Services, and University has made no representation, written or oral, that any particular scope of services will actually be required by University; and (3) Proposer will bear, as its sole risk and responsibility, any cost that arises from Proposer’s preparation of a proposal in response to this RFP.

**1.8 Proposal Requirements and General Instructions**

1.8.1 Proposer should carefully read the information contained herein and submit a complete proposal in response to all requirements and questions as directed.

1.8.2 Proposals and any other information submitted by Proposer in response to this RFP will become the property of University.

1.8.3 University will not provide compensation to Proposer for any expenses incurred by the Proposer for proposal preparation or for demonstrations or oral presentations that may be made by Proposer. Proposer submits its proposal at its own risk and expense.

1.8.4 Proposals that (i) are qualified with conditional clauses; (ii) alter, modify, or revise this RFP in any way; or (iii) contain irregularities of any kind, are subject to disqualification by University, at University’s sole discretion.

1.8.5 Proposals should be prepared simply and economically, providing a straightforward, concise description of Proposer's ability to meet the requirements and specifications of this RFP. Emphasis should be on completeness, clarity of content, and responsiveness to the requirements and specifications of this RFP.

1.8.6 University makes no warranty or guarantee that an award will be made as a result of this RFP. University reserves the right to accept or reject any or all proposals, waive any formalities, procedural requirements, or minor technical inconsistencies, and delete any requirement or specification from this RFP or the Agreement when deemed to be in University's best interest. University reserves the right to seek clarification from any Proposer concerning any item contained in its proposal prior to final selection. Such clarification may be provided by telephone conference or personal meeting with or writing to University, at University’s sole discretion. Representations made by Proposer within its proposal will be binding on Proposer.

1.8.7 Any proposal that fails to comply with the requirements contained in this RFP may be rejected by University, in University’s sole discretion.

**1.9 Preparation and Submittal Instructions**

1.9.1 Specifications and Additional Questions

Proposals must include responses to the questions in Specifications and Additional Questions (ref. **Section 5** ofthis RFP). Proposer should reference the item number and repeat the question in its response. In cases where a question does not apply or if unable to respond, Proposer should refer to the item number, repeat the question, and indicate N/A (Not Applicable) or N/R (No Response), as appropriate. Proposer should explain the reason when responding N/A or N/R.

1.9.2 Execution of Offer

Proposer must complete, sign and return the attached Execution of Offer (ref. **Section 2** of **APPENDIX ONE**) as part of its proposal. The Execution of Offer must be signed by a representative of Proposer duly authorized to bind the Proposer to its proposal. Any proposal received without a completed and signed Execution of Offer may be rejected by University, in its sole discretion.

1.9.3 Pricing and Delivery Schedule

Proposer must complete and return the Pricing and Delivery Schedule (ref. **Section 6** ofthis RFP), as part of its proposal. In the Pricing and Delivery Schedule, the Proposer should describe in detail (a) the total fees for the entire scope of the Services; and (b) the method by which the fees are calculated. The fees must be inclusive of all associated costs for delivery, labor, insurance, taxes, overhead, and profit.

University will not recognize or accept any charges or fees to perform the Services that are not specifically stated in the Pricing and Delivery Schedule.

In the Pricing and Delivery Schedule, Proposer should describe each significant phase in the process of providing the Services to University, and the time period within which Proposer proposes to be able to complete each such phase.

1.9.4 Proposer’s General Questionnaire

Proposals must include responses to the questions in Proposer’s General Questionnaire (ref. **Section 3** of **APPENDIX ONE).** Proposer should reference the item number and repeat the question in its response. In cases where a question does not apply or if unable to respond, Proposer should refer to the item number, repeat the question, and indicate N/A (Not Applicable) or N/R (No Response), as appropriate. Proposer should explain the reason when responding N/A or N/R.

1.9.5 Addenda Checklist

Proposer should acknowledge all Addenda to this RFP (if any) by completing, signing and returning the Addenda Checklist (ref. **Section 4** of **APPENDIX ONE**) as part of its proposal. Any proposal received without a completed and signed Addenda Checklist may be rejected by University, in its sole discretion.

1.9.6 Submission

Proposer should submit all proposal materials enclosed in a sealed envelope, box, or container. The RFP No. (ref. **Section 1.3** of this RFP) and the Submittal Deadline (ref. **Section 2.1** of this RFP) should be clearly shown in the lower left‑hand corner on the top surface of the container. In addition, the name and the return address of the Proposer should be clearly visible.

Proposer must also submit the number of originals of the HUB Subcontracting Plan (also called the HSP) as required by this RFP (ref. **Section 2.5** of the RFP.)

Upon Proposer’s request and at Proposer’s expense, University will return to a Proposer its proposal received after the Submittal Deadline if the proposal is properly identified. University will not under any circumstances consider a proposal that is received after the Submittal Deadline or which is not accompanied by the number of completed and signed originals of the HSP that are required by this RFP.

University will not accept proposals submitted by telephone, proposals submitted by Facsimile (“**FAX**”) transmission, or proposals submitted by electronic transmission (i.e., e-mail) in response to this RFP.

Except as otherwise provided in this RFP, no proposal may be changed, amended, or modified after it has been submitted to University. However, a proposal may be withdrawn and resubmitted at any time prior to the Submittal Deadline. No proposal may be withdrawn after the Submittal Deadline without University’s consent, which will be based on Proposer's submittal of a written explanation and documentation evidencing a reason acceptable to University, in University’s sole discretion.

By signing the Execution of Offer (ref. **Section 2** of **APPENDIX ONE**) and submitting a proposal, Proposer certifies that any terms, conditions, or documents attached to or referenced in its proposal are applicable to this procurement only to the extent that they (a) do not conflict with the laws of the State of Texas or this RFP and (b) do not place any requirements on University that are not set forth in this RFP or in the Appendices to this RFP. Proposer further certifies that the submission of a proposal is Proposer's good faith intent to enter into the Agreement with University as specified herein and that such intent is not contingent upon University's acceptance or execution of any terms, conditions, or other documents attached to or referenced in Proposer’s proposal.

1.9.7 Page Size, Binders, and Dividers

Proposals must be typed on letter-size (8-1/2” x 11”) paper, and must be submitted in a binder. Preprinted material should be referenced in the proposal and included as labeled attachments. Sections within a proposal should be divided by tabs for ease of reference.

1.9.8 Table of Contents

Proposals must include a Table of Contents with page number references. The Table of Contents must contain sufficient detail and be organized according to the same format as presented in this RFP, to allow easy reference to the sections of the proposal as well as to any separate attachments (which should be identified in the main Table of Contents). If a Proposer includes supplemental information or non-required attachments with its proposal, this material should be clearly identified in the Table of Contents and organized as a separate section of the proposal.

1.9.9 Pagination

All pages of the proposal should be numbered sequentially in Arabic numerals (1, 2, 3, etc.). Attachments should be numbered or referenced separately.

**SECTION 2**

**Execution of Offer**

**THIS EXECUTION OF OFFER MUST BE COMPLETED, SIGNED AND RETURNED WITH PROPOSER'S PROPOSAL. FAILURE TO COMPLETE, SIGN AND RETURN THIS EXECUTION OF OFFER WITH THE PROPOSER’S PROPOSAL MAY RESULT IN THE REJECTION OF THE PROPOSAL.**

**2.1** By signature hereon, Proposer represents and warrants the following:

2.1.1 Proposer acknowledges and agrees that (1) this RFP is a solicitation for a proposal and is not a contract or an offer to contract; (2) the submission of a proposal by Proposer in response to this RFP will not create a contract between University and Proposer; (3) University has made no representation or warranty, written or oral, that one or more contracts with University will be awarded under this RFP; and (4) Proposer will bear, as its sole risk and responsibility, any cost arising from Proposer’s preparation of a response to this RFP.

2.1.2 Proposer is a reputable company that is lawfully and regularly engaged in providing the Services.

2.1.3 Proposer has the necessary experience, knowledge, abilities, skills, and resources to perform the Services.

2.1.4 Proposer is aware of, is fully informed about, and is in full compliance with all applicable federal, state and local laws, rules, regulations and ordinances.

2.1.5 Proposer understands (i) the requirements and specifications set forth in this RFP and (ii) the terms and conditions set forth in the Agreement under which Proposer will be required to operate.

2.1.6 If selected by University, Proposer will not delegate any of its duties or responsibilities under this RFP or the Agreement to any sub-contractor, except as expressly provided in the Agreement.

2.1.7 If selected by University, Proposer will maintain any insurance coverage as required by the Agreement during the term thereof.

2.1.8 All statements, information and representations prepared and submitted in response to this RFP are current, complete, true and accurate. Proposer acknowledges that University will rely on such statements, information and representations in selecting Contractor. If selected by University, Proposer will notify University immediately of any material change in any matters with regard to which Proposer has made a statement or representation or provided information.

2.1.9 Proposer will defend with counsel approved by University, indemnify, and hold harmless University, The University of Texas System, the State of Texas, and all of their regents, officers, agents and employees, from and against all actions, suits, demands, costs, damages, liabilities and other claims of any nature, kind or description, including reasonable attorneys’ fees incurred in investigating, defending or settling any of the foregoing, arising out of, connected with, or resulting from any negligent acts or omissions or willful misconduct of Proposer or any agent, employee, subcontractor, or supplier of Proposer in the execution or performance of any contract or agreement resulting from this RFP.

2.1.10 Pursuant to Sections 2107.008 and 2252.903, *Government Code*, any payments owing to Proposer under any contract or agreement resulting from this RFP may be applied directly to any debt or delinquency that Proposer owes the State of Texas or any agency of the State of Texas regardless of when it arises, until such debt or delinquency is paid in full.

**2.2** By signature hereon, Proposer offers and agrees to furnish the Services to University and comply with all terms, conditions, requirements and specifications set forth in this RFP.

**2.3** By signature hereon, Proposer affirms that it has not given or offered to give, nor does Proposer intend to give at any time hereafter, any economic opportunity, future employment, gift, loan, gratuity, special discount, trip, favor or service to a public servant in connection with its submitted proposal. Failure to sign this Execution of Offer, or signing with a false statement, may void the submitted proposal or any resulting contracts, and the Proposer may be removed from all proposal lists at University.

**2.4** By signature hereon, Proposer certifies that it is not currently delinquent in the payment of any taxes due under Chapter 171, *Tax Code*, or that Proposer is exempt from the payment of those taxes, or that Proposer is an out-of-state taxable entity that is not subject to those taxes, whichever is applicable. A false certification will be deemed a material breach of any resulting contract or agreement and, at University's option, may result in termination of any resulting contract or agreement.

**2.5** By signature hereon, Proposer hereby certifies that neither Proposer nor any firm, corporation, partnership or institution represented by Proposer, or anyone acting for such firm, corporation or institution, has violated the antitrust laws of the State of Texas, codified in Section 15.01, et seq., *Business and Commerce Code*, or the Federal antitrust laws, nor communicated directly or indirectly the proposal made to any competitor or any other person engaged in such line of business.

**2.6** By signature hereon, Proposer certifies that the individual signing this document and the documents made a part of this RFP, is authorized to sign such documents on behalf of Proposer and to bind Proposer under any agreements and other contractual arrangements that may result from the submission of Proposer’s proposal.

**2.7** By signature hereon, Proposer certifies as follows:

"Under Section 231.006, *Family Code,* relating to child support, Proposer certifies that the individual or business entity named in the Proposer’s proposal is not ineligible to receive the specified contract award and acknowledges that any agreements or other contractual arrangements resulting from this RFP may be terminated if this certification is inaccurate."

**2.8** By signature hereon, Proposer certifies that (i) no relationship, whether by blood, marriage, business association, capital funding agreement or by any other such kinship or connection exists between the owner of any Proposer that is a sole proprietorship, the officers or directors of any Proposer that is a corporation, the partners of any Proposer that is a partnership, the joint venturers of any Proposer that is a joint venture or the members or managers of any Proposer that is a limited liability company, on one hand, and an employee of any component of The University of Texas System, on the other hand, other than the relationships which have been previously disclosed to University in writing; (ii) Proposer has not been an employee of any component institution of The University of Texas System within the immediate twelve (12) months prior to the Submittal Deadline; and (iii) no person who, in the past four (4) years served as an executive of a state agency was involved with or has any interest in Proposer’s proposal or any contract resulting from this RFP (ref. Section 669.003, *Government Code*). All disclosures by Proposer in connection with this certification will be subject to administrative review and approval before University enters into a contract or agreement with Proposer.

**2.9** By signature hereon, Proposer certifies its compliance with all federal laws and regulations pertaining to Equal Employment Opportunities and Affirmative Action.

**2.10** By signature hereon, Proposer represents and warrants that all products and services offered to University in response to this RFP meet or exceed the safety standards established and promulgated under the Federal Occupational Safety and Health Law (Public Law 91-596) and the *Texas Hazard Communication Act*, Chapter 502, *Health and Safety Code*, and all related regulations in effect or proposed as of the date of this RFP.

**2.11** Proposer will and has disclosed, as part of its proposal, any exceptions to the certifications stated in this Execution of Offer. All such disclosures will be subject to administrative review and approval prior to the time University makes an award or enters into any contract or agreement with Proposer.

**2.12** If Proposer will sell or lease computer equipment to the University under any agreements or other contractual arrangements that may result from the submission of Proposer’s proposal then, pursuant to Section 361.965(c), *Health & Safety Code*, Proposer certifies that it is in compliance with the Manufacturer Responsibility and Consumer Convenience Computer Equipment Collection and Recovery Act set forth in Chapter 361, Subchapter Y, *Health & Safety Code* and the rules adopted by the Texas Commission on Environmental Quality under that Act as set forth in Title 30, Chapter 328, Subchapter I, *Texas Administrative Code*. Section 361.952(2), *Health & Safety Code,* states that, for purposes of the Manufacturer Responsibility and Consumer Convenience Computer Equipment Collection and Recovery Act*,* the term“computer equipment” means a desktop or notebook computer and includes a computer monitor or other display device that does not contain a tuner.

**2.13 Proposer should complete the following information:**

If Proposer is a Corporation, then State of Incorporation:

If Proposer is a Corporation then Proposer’s Corporate Charter Number:  \_\_\_\_\_\_

RFP No.: 744-R1606

**NOTICE: With few exceptions, individuals are entitled on request to be informed about the information that governmental bodies of the State of Texas collect about such individuals. Under Sections 552.021 and 552.023, *Government Code*, individuals are entitled to receive and review such information. Under Section 559.004, *Government Code*, individuals are entitled to have governmental bodies of the State of Texas correct information about such individuals that is incorrect.**

**Submitted and Certified By:**

(Proposer Institution’s Name)

(Signature of Duly Authorized Representative)

(Printed Name/Title)

(Date Signed)

(Proposer’s Street Address)

(City, State, Zip Code)

(Telephone Number)

(FAX Number)

(Email Address)

**SECTION 3**

**PROPOSER’S GENERAL QUESTIONNAIRE**

**NOTICE: With few exceptions, individuals are entitled on request to be informed about the information that governmental bodies of the State of Texas collect about such individuals. Under Sections 552.021 and 552.023, *Government Code*, individuals are entitled to receive and review such information. Under Section 559.004, *Government Code*, individuals are entitled to have governmental bodies of the State of Texas correct information about such individuals that is incorrect.**

Proposals must include responses to the questions contained in this Proposer’s General Questionnaire. Proposer should reference the item number and repeat the question in its response. In cases where a question does not apply or if unable to respond, Proposer should refer to the item number, repeat the question, and indicate N/A (Not Applicable) or N/R (No Response), as appropriate. Proposer will explain the reason when responding N/A or N/R.

**3.1 Proposer Profile**

3.1.1 Legal name of Proposer company:

Address of principal place of business:

Address of office that would be providing service under the Agreement:

Number of years in Business:

State of incorporation:

Number of Employees:

Annual Revenues Volume:

Name of Parent Corporation, if any   \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**NOTE:  If Proposer is a subsidiary, University prefers to enter into a contract or agreement with the Parent Corporation or to receive assurances of performance from the Parent Corporation.**

3.1.2 State whether Proposer will provide a copy of its financial statements for the past two (2) years, if requested by University.

3.1.3 Proposer will provide a financial rating of the Proposer entity and any related documentation (such as a Dunn and Bradstreet analysis) that indicates the financial stability of Proposer.

3.1.4 Is Proposer currently for sale or involved in any transaction to expand or to become acquired by another business entity? If yes, Proposer will explain the expected impact, both in organizational and directional terms.

3.1.5 Proposer will provide any details of all past or pending litigation or claims filed against Proposer that would affect its performance under the Agreement with University (if any).

3.1.6 Is Proposer currently in default on any loan agreement or financing agreement with any bank, financial institution, or other entity? If yes, Proposer will specify the pertinent date(s), details, circumstances, and describe the current prospects for resolution.

3.1.7 Proposer will provide a customer reference list of no less than three (3) organizations with which Proposer currently has contracts and/or to which Proposer has previously provided services (within the past five (5) years) of a type and scope similar to those required by University’s RFP. Proposer will include in its customer reference list the customer’s company name, contact person, telephone number, project description, length of business relationship, and background of services provided by Proposer.

3.1.8 Does any relationship exist (whether by family kinship, business association, capital funding agreement, or any other such relationship) between Proposer and any employee of University? If yes, Proposer will explain.

**3.2 Approach to Project Services**

3.2.1 Proposer will provide a statement of the Proposer’s service approach and will describe any unique benefits to University from doing business with Proposer. Proposer will briefly describe its approach for each of the required services identified in **Section 5.4** Scope of Work of this RFP.

3.2.2 Proposer will provide an estimate of the earliest starting date for services following execution of the Agreement.

3.2.3 Proposer will submit a work plan with key dates and milestones. The work plan should include:

3.2.3.1 Identification of tasks to be performed;

3.2.3.2 Time frames to perform the identified tasks;

3.2.3.3 Project management methodology;

3.2.3.4 Implementation strategy; and

3.2.3.5 The expected time frame in which the services would be implemented.

3.2.4 Proposer will describe the types of reports or other written documents Proposer will provide (if any) and the frequency of reporting, if more frequent than required in the RFP. Proposer will include samples of reports and documents if appropriate.

**3.3 General Requirements**

3.3.1 Proposer will provide summary resumes for its proposed key personnel who will be providing services under the Agreement with University, including their specific experiences with similar service projects, and number of years of employment with Proposer.

3.3.2 Proposer will describe any difficulties it anticipates in performing its duties under the Agreement with University and how Proposer plans to manage these difficulties. Proposer will describe the assistance it will require from University.

**3.4 Service Support**

Proposer will describe its service support philosophy, how it is implemented, and how Proposer measures its success in maintaining this philosophy.

**3.5 Quality Assurance**

Proposer will describe its quality assurance program, its quality requirements, and how they are measured.

**3.6 Miscellaneous**

3.6.1 Proposer will provide a list of any additional services or benefits not otherwise identified in this RFP that Proposer would propose to provide to University. Additional services or benefits must be directly related to the goods and services solicited under this RFP.

3.6.2 Proposer will provide details describing any unique or special services or benefits offered or advantages to be gained by University from doing business with Proposer. Additional services or benefits must be directly related to the goods and services solicited under this RFP.

3.6.3 Does Proposer have a contingency plan or disaster recovery plan in the event of a disaster? If so, then Proposer will provide a copy of the plan.

**SECTION 4**

**ADDENDA CHECKLIST**

**Proposal of:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 (Proposer Company Name)

**To:** The University of Texas Health Science Center at Houston

**Ref.:** Elevator Modernization & Maintenance Services

**RFP No.:**  744-R1606 Elevator Modernization & Campus Wide Maintenance Services

Ladies and Gentlemen:

The undersigned Proposer hereby acknowledges receipt of the following Addenda to the captioned RFP (initial if applicable).

 No. 1 \_\_\_\_\_ No. 2 \_\_\_\_\_ No. 3 \_\_\_\_\_ No. 4 \_\_\_\_\_ No. 5 \_\_\_\_\_

Respectfully submitted,

 **Proposer:**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**By:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 (Authorized Signature for Proposer)

**Name:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Title:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Date:**  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

This page intentionally blank